INFRARED TECHNOLOGY SERVICES

Infrared Inspection Report

| Suspect Area Number: | 20 |
| --- | --- |
| Inspection Date: | 6/27/2010 | Time: | 2221 |
| Anomaly Location/ Description: | Large irregular area on north side of EF-10 Size is 28 ft. X 15 ft. |
| View Direction: | Southwest |
| Anomaly Target Temperature: | 92 | Reference Temperature: | 88 |

| Thermographer: | Lee Wills |  | Sky Conditions: | Partly cloudy |
| --- | --- | --- | --- | --- |
| Camera: | Thermacam PM395 |  | Wind Speed: | Moderate |
| Serial Number: | 20401 |  |  |  |